## Slide 1: Asset Analytics of Smart Grid Infrastructure for Resiliency Enhancement
Ali Arab
ADVISORS: PROFESSOR SURESH KHATOR
PROFESSOR ZHU HAN
University of Houston
APRIL 20, 2015
Doctoral Dissertation

## Slide 2: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 3: Smart Grid and Natural Disasters
Photo Credit: www.centerpointenergy.com
Photo Credit: www.users.ece.utexas.edu/~kwasinski
Figure: Outage Map and Snapshots of Hurricane Ike, 2008

## Slide 4: Contributions
Incorporation of economy of disaster in restoration
Proactive and probabilistic grid restoration model
Maintenance planning considering hurricane effects
Long-term climatological effects in asset analytics

## Slide 5: Problem Domain Review
Emergency planning
Physical behaviour
Outage prediction
Resource allocation
Maintenance planning
Reliability analysis
Restoration planning

## Slide 6: Solution Domain Review
Mixed-integer programming
Modelling and linearization techniques
Two-stage stochastic programs with recourse
Latin hypercube sampling
Scenario reduction techniques
Benders decomposition
Stress-strength analysis
Markov decision processes
Partially observable Markov decision processes

## Slide 7: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 8: Grid Restoration Considering Economics of Disaster
Load Balance
Power Flow
Real Power
Voltage Angels
Unit Commitment
Value of Lost Load
Resource Cost
+
=
Physics
& Economics of Restoration

## Slide 9: A Typical Power System Under Restoration
Figure: IEEE 6-bus System
Failed
generation unit
Failed bus
Failed
transmission line

## Slide 10: Objective Function
To minimize restoration cost
To minimize load interruption
To minimize generation cost
Value of Lost Load
Transmission Resource
Resource Cost
Bus Resource
Resource Cost
Generation Cost
Startup cost
Shutdown cost
10
Load Interruption

## Slide 11: Damage State and Repair Modeling
Line’s Time To Repair
Line Resource Allocation Indicator
Damage state of line
Line’s Time To Repair
Line Resource Allocation Indicator
Big Positive

## Slide 12: Resource and Load Balance Constraints
Real Power Generation
Line Power Flow
Load Interruption
Bus Demand
Resources use cannot exceed the available resources
The Load Balance Constraint must always hold:

## Slide 13: Real Power Generation Constraint
Unit commitment indicator
Real power generation
Element of Gen2Bus incidence matrix
Ramp-up and ramp-down constraints
Minimum uptime and downtime constraints

## Slide 14: Line Power Flow Constraints
Line Damage State
Element of Line2Bus Incidence Matrix
Line Power Flow
A Very Large Number

## Slide 15: Benders Decomposition Algorithm

## Slide 16: Testing System
Figure: IEEE 118-bus Testing System

## Slide 17: Numerical Results
Figure: Time To Restoration in Scenario IV
Figure: Restoration Costs in Scenario IV
Table: Restoration Costs in Scenarios I-III

## Slide 18: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 19: Proactive Hurricane Planning

## Slide 20: Two-Stage Stochastic Program with Recourse
Expected recourse cost function
Multivariate random variable

## Slide 21: Random Variables
Line damage state variable
Bus damage state variable
Unit damage state variable
Line time to repair
Bus time to repair
Unit time to repair
Survival Probability
Shape Parameter
Scale Parameter

## Slide 22: Objective Function
To minimize the primary resource cost
To minimize expected minimum load interruption cost
To minimize expected minimum generation cost
To minimize expected minimum recourse action cost

## Slide 23: Constraints in Common with Post-hurricane Model
Resource constraints
Load balance constraints
Real power generation constraints
Power flow constraints
Startup and shutdown cost constraints
Ramp-up and ramp-down constraints
Minimum uptime and downtime constraints

## Slide 24: Damage State and Repair Modeling
where,
Line initial damage state
Line time to repair
Line recourse variable

## Slide 25: Penalization of Recourse Function
Line recourse penalty coefficient
Bus recourse penalty coefficient
Recourse cost function

## Slide 26: Scenario Construction and Reduction
Probability of scenario s
Scenario generation using Latin hypercube sampling
3000 Scenarios, each with probability of 1/3000
Backward Scenario Reduction
Figure: Schematic View of
Scenario Reduction

## Slide 27: Numerical Results
Figure: Optimal Resource Level Over Time
Figure: Expected Restoration Cost Breakdown

## Slide 28: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 29: Dynamic Maintenance Considering Hurricane Effects

## Slide 30: Model Description
State Space:
Action Space:
No Action (NA)
Preventive Maintenance j (PMj)
Corrective Maintenance (CR)
Restoration (RS)
Decision Epochs: Each week over a year
Maintenance Cost Increases in the State of the System
Action Cost Structure:
Figure: State Transition Diagram

## Slide 31: Hurricane Effects Modeling
Survival probability to hurricane
Wind gust speed
Number of hurricanes
Strength of component
Normal CDF

## Slide 32: Problem Formulation
Cost-to-go
Bellman equation:
Failure probability
Deterioration probability

## Slide 33: Problem Formulation
Probability of damage due to hurricane
Downtime cost

## Slide 34: Downtime Cost
Subject to:
Load balance equation
Real power constraints
Outage constraints
Power flow constraints
Bus voltage angle constraints
The cost difference of the normal system operation and system operation with contingency is considered as downtime cost
Generation cost
Unit commitment variable
Load interruption
Real power
Value of lost load

## Slide 35: Backward Induction Algorithm

## Slide 36: Numerical Results
Figure: IEEE 6-bus System
Figure: Aggregated Load Profile in 52 Weeks
Table: Derived Optimal Policy
Table: Cost Saving With PM Program

## Slide 37: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 38: Infrastructure Hardening and Condition-based Maintenance
Under Hurricane Effects
(Long-term)
Under Degradation (Imperfect information)
Call for Synchronized and Non-isolated Decisions on
Asset Management

## Slide 39: State Space
Original Two-dimensional State Space
Mixed POMDP-MDP (MOMDP) State Space
Information State
Hardening State

## Slide 40: Action Space
No action (NA)
Inspection (IN)
Preventive maintenance (PM)
Corrective maintenance (CM)
Restoration (RS)
Hardening (HH)

## Slide 41: Transition Probabilities
Conditional Reliability
Transition probability
Failure Probability
Element of Info State in Next Period

## Slide 42: Hurricane Survival Probability
Strength
Wind Gust Speed
Number of Strikes
Lognormal Mean
Lognormal Variance
Average Number of Strikes
Function of hardening state
Hurricane Survival Probability

## Slide 43: Problem Formulation
Expected Cost of Hardening
Minimum Expected Cost –to-go
Expected Cost of NA
Extreme State k+2
Extreme State k+1

## Slide 44: Problem Formulation
Discount Rate
Expected Cost of CM
Abstract Function
Expected Cost od RS
Expected IN Cost

## Slide 45: POMDP Solution Algorithm

## Slide 46: Numerical Results
Figure: Structure of Optimal Policy
Figure: Expected Asset Management Cost

## Slide 47: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 48: Conclusions
The economics of disaster must be considered in restoration problem.
Investment in restoration resources is paid-off by restoration cost saving.
Preventive maintenance considering hurricane effect results in significant cost reduction.
Considering long-term climatological effects in asset management results in significant savings.
Infrastructure hardening strategy significantly affects the total asset management cost.

## Slide 49: Future Work
AC approximation of the power system for restoration problems
Integration of smart grid technology for resiliency enhancement
Restructured power market dynamics in restoration process
Multi-dimensional POMDP algorithms for methodological improvements

## Slide 50: Outline
Introduction
Grid Restoration Considering Economics of Disaster
Pre-hurricane Proactive Planning
Dynamic Maintenance Considering Hurricane Effects
Infrastructure Hardening and Condition-based Maintenance
Conclusions and Future Work
Publications

## Slide 51: Journal Papers
Journal Papers from Doctoral Dissertation:
[1] A. Arab, A. Khodaei, S. K. Khator, K. Ding, V. Emesih, and Z. Han, “Stochastic Pre-hurricane Restoration Planning for Electric Power Systems Infrastructure,” IEEE Transactions on Smart Grid, Vol. 6, No 2, 1046-1054, 2015.
[2] A. Arab, A. Khodaei, Z. Han, and S. K. Khator, “Proactive Recovery of Electric Power Assets for Resiliency Enhancement”, IEEE Access, Vol. 3, 99-109, 2015.
[3] A. Arab, E. Tekin, A. Khodaei, S. K. Khator, and Z. Han, “Infrastructure Hardening and Condition-based Maintenance for Power Systems Considering El Nino/La Nina Effects,” IEEE Transactions on Reliability, (Under review ).
[4] A. Arab, A. Khodaei, S. K. Khator, Z. Han, “Post-hurricane Restoration and Unit Commitment for Electric Power Systems,” (to be submitted to IIE Transactions).
[5] A. Arab, A. Khodaei, S. K. Khator, Z. Han, “A Linearization Scheme for AC Power Systems: A Letter to Editor, (Working paper).
Journal Papers beside Doctoral Dissertation:
[6] A. Arab and Q. Feng, “Reliability Research on Micro and Nano Electro-Mechanical Systems: A Review,” International Journal of Advanced Manufacturing Technology, Springer, Vol. 44, No. 9-12, pp. 1679-1690, 2014.
[7] K. Rafiee, Q. Feng, A. Arab, and D. W. Coit, “Reliability Analysis and Condition-based Maintenance for Implanted Multi-stent Systems with Stochastic Dependent Competing Risk Processes,” Reliability Engineering & System Safety (Under review).
[8] A. Arab, A. Khodaei, S. K. Khator, Z. Han, “Sustainable Strategic Management of the Utilities of the Future: A Resource-based View on Smart Grids” (Working paper).

## Slide 52: Conference Papers/Presentations
Conference Papers from Doctoral Dissertation:
[9] A. Arab, E. Tekin, A. Khodaei, S. K. Khator, and Z. Han, “Dynamic Maintenance Scheduling for Power Systems Incorporating Hurricane Effects,” Proceeding of IEEE Smart Grid Communication Conference, Venice, Italy, 2014.
[10] A. Arab, A. Khodaei, S. K. Khator, K. Ding, Z. Han, “Post-Hurricane Transmission Network Outage Management,” Proceeding of IEEE Great Lakes Symposium on Smart Grid and the New Energy Economy, Chicago, 2013.
[11] A. Arab, A. Khodaei, S. K. Khator, K. Ding, Z. Han, “Optimal Restoration Planning for Smart Grid under Natural Disaster,” Poster Presentation at UT Energy Forum, Austin, TX, 2014.
Conference Papers beside Doctoral Dissertation:
[12] A. Arab, S. K. Khator, Q. Feng, and Z. Han, “Control Theoretic Angiography Scheduling of Implanted Stents in Human Arteries,” Annual Industrial & Systems Engineering Research Conference, Nashville, TN, 2015.
[13] A. Arab, E. Keedy, Q. Feng, S. Song, D.W. Coit, “Reliability Analysis for Implanted Multi-Stent Systems with Stochastic Dependent Competing Risk Processes,” Proceeding of Annual Industrial & Systems Engineering Research Conference, Puerto Rico, 2013.
[14] F. Sangare, A. Arab, M. Pan, L. Qian, S. K. Khator, and Z. Han, “RF Energy Harvesting for WSNs via Dynamic Control of Unmanned Vehicle Charging” Proceeding of IEEE Wireless Communications and Networking Conference, New Orleans, LA, 2015.
[15] J. Sosa, A. Arab, E. Tekin, M. Bennis, S. K. Khator, and Z. Han, “Smart Energy Pricing for Utility Companies Using Reinforcement Learning,” (Working paper).

## Slide 53: Many thanks!