## Slide 1
Big Data Optimization for Distributed Resource Management in Smart Grid
April 21, 2017
Ph.D. Research Defense
Hung Khanh Nguyen
Advisor: Dr. Zhu Han

## Slide 2
Introduction and motivation
Research works
  Incentive mechanism for peak ramp minimization
  Big data algorithm for microgrid optimal scheduling
  Other works
Future work
Conclusions
Outline

## Slide 3
Introduction and motivation
Distributed generation
The grid gets older

## Slide 4
Introduction and motivation

## Slide 5
Introduction and motivation

## Slide 6
Introduction and motivation

## Slide 7
Dissertation contributions
Proposed new resource management model to improve efficiency and reliability:
  Incentive mechanism to mitigate ramping effect
  Optimal scheduling for microgrids with minimal load curtailment
  Decentralized reactive power compensation
Proposed new computational frameworks for distributed resource management:
  Propose scalable algorithms which can perform in synchronous for asynchronous fashion
Applied big data optimization technique to implement large-scale and distributed computation:
  Implement algorithms using Hadoop MapReduce framework

## Slide 8
Introduction and motivation
Research works
  Incentive mechanism for peak ramp minimization
  Big data algorithm for microgrid optimal scheduling
  Other works
Future work
Conclusions
Outline

## Slide 9
Motivation
2014

## Slide 10
Threat
Duck curve
microgrids reschedule energy resource to minimize the peak ramp

## Slide 11
System model
A set of N microgrids and a distribution system operator (DSO)
Set of T energy consumption periods
….
Residential load
power link
communication link
Microgrid 1
Microgrid 2
Microgrid N
DSO

## Slide 12
Microgrid energy cost
Power buy from the grid
Power generate locally
price
Total cost
Power buy from the grid
Total demand
Local generation
Power from energy storage
Renewable generation
Power balance

## Slide 13
Microgrid ‘s payoff
Extra cost when microgrid deviates from the original optimal point
Ramp between 2 time slots
Net load
Peak ramp
New total cost
Microgrid’s payoff
Reimbursement

## Slide 14
DSO’s payoff
Saving cost due to peak ramp reduction
Cost function to satisfy the peak ramp
DSO’s payoff
Social welfare
max
Cannot determine the reimbursement

## Slide 15
Nash bargaining game is a simple two-player game used to model bargaining interactions. In the Nash bargaining game, two players demand a portion of some good (usually some amount of money)
Nash bargaining solution
Maximize the Nash’s product (U1 – d1)*(U2-d2)
Fairness

## Slide 16
Nash bargaining solution
Solution
maximizes the social welfare problem
Extra cost
Social welfare
DSO’s payoff
microgrid’s payoff

## Slide 17
Alternating Direction Method of Multipliers (ADMM)
Iterative procedure to solve an optimization problem using ADMM
Augmented Lagrangian function

## Slide 18
Distributed algorithms for NBS
Transform into an equivalent problem
The augmented Lagrangian function
Lagrange multiplier
Penalty term

## Slide 19
Problem decomposition
Dual variables update:
DSO problem
Individual microgrid problem

## Slide 20
Synchronous ADMM
…
Solve local problem for
DSO
Solve local problem for
Update
Microgrid 1
Solve local problem for
Update
Microgrid 2
Solve local problem for
Update
Microgrid N
DSO
Microgrid 1
Microgrid 2
Microgrid N
idle
idle
Iteration k = 0
idle
idle
Iteration k = 1
……

## Slide 21
Asynchronous ADMM
Consider an optimization problem
Solve in asynchronous fashion

## Slide 22
Asynchronous ADMM
DSO problem
Individual microgrid problem

## Slide 23
Asynchronous ADMM
DSO
Microgrid 1
Microgrid 2
Microgrid N
…
……
Iteration k = 0
1
2
3
4
5
6
7
8

## Slide 24
Simulation results
Synchronous Alg. 1 converges after about 70 iterations (497 sec.). Asynchronous Alg. 2 needs 250 iterations (325 sec.)
Peak ramp reduces 53% compared to original net load
Microgrids receive benefit by participating in peak ramp minimization problem

## Slide 25
Introduction and motivation
Research works
  Incentive mechanism for peak ramp minimization
  Big data algorithm for microgrid optimal scheduling
  Other works
Future work
Conclusions
Outline

## Slide 26
Motivation
Joint optimal scheduling for gird-connected and islanded operation

## Slide 27
System model
Power balance constraints
…
Main grid
Microgrid 1
Microgrid 2
Microgrid N
Self generation
Power from main grid
Power from neighbors

## Slide 28
Islanded operation
…
Main grid
Microgrid 1
Microgrid 2
Microgrid N

## Slide 29
Islanded constraints
Ramping constraints
For microgrid in islanded mode
For microgrid in normal mode
Fraction of load curtailment

## Slide 30
Microgrid generation cost and load curtailment minimization problem
Problem formulation
Large-scale problem

## Slide 31
Parallel algorithm
Normal operation
Solve normal problem for
Master computer
Islanded operation
Solve for
Update
Computer 1
Islanded operation
Solve for
Update
Computer 2
Islanded operation
Solve for
Update
Computer N
,
,
,

## Slide 32
Simulation results
Converge to optimum after about 40 iterations
The fraction of load curtailment
when switching into the islanded mode: sparse number of microgrids have to reduce loads

## Slide 33
Big data algorithm implementation
MapReduce programming model
Normal operation
Solve normal problem for
Master computer
Islanded operation
Solve for
Update
Computer 1
Islanded operation
Solve for
Update
Computer 2
Islanded operation
Solve for
Update
Computer N

## Slide 34
MapRedcue algorithm for ADMM

## Slide 35
Running time on cluster
Faster with a larger number of microgrids

## Slide 36
Introduction and motivation
Research works
  Incentive mechanism for peak ramp minimization
  Big data algorithm for microgrid optimal scheduling
  Other works
Future work
Conclusions
Outline

## Slide 37
Decentralized reactive power compensation
Active power
reactive power
Is better than

## Slide 38
System model
0
n-1
n
n+1
N
Pn + jQn
Pn+1 + jQn+1
demand
generation
Reactive power injection

## Slide 39
Optimization problem for NBS
Nash bargaining solution
company’s payoff
user’s payoff

## Slide 40
Virtualization has become a popular concept in different areas: virtual memory, virtual machines…
Wireless network virtualization:
  Network infrastructure is decoupled from the services that it provides
Resource allocation for
wireless network virtualization
InP: owns the infrastructure and wireless network resources
MVNP: leases the network resources and creates virtual resources
MVNO: operates and assigns the virtual resources to SPs
SP: concentrates on providing services to its subscribers

## Slide 41
Network Model

## Slide 42
Preventive traffic disruption
New routing flow
Substrate link failure
original routing flow

## Slide 43
Optimization problem for preventive traffic disruption model
Resource allocation problem
Link failure state
Normal state

## Slide 44
Introduction and motivation
Research works
  Incentive mechanism for peak ramp minimization
  Big data algorithm for microgrid optimal scheduling
  Other works
Future work
Conclusions
Outline

## Slide 45
Prosumers
Future state based on evolving energy landscape
  More automated and digital, with more sophisticated voltage control and protection schemes
  Facilitates increasing renewables & two-way power flow
  Cyber mitigation must be included
1
2
3
2
1
1
3
1
1
1
2
2

## Slide 46
Local energy trading
Economic + control

## Slide 47
Economic & Robustness Optimization
Economic Optimization
High
Low
Operational Robustness
High
Low
What are the range of options?
An what is an acceptable set of solutions?
There is a fundamental trade-off between economic efficiency and robustness –we’re now also trying to resolve this system problem in a larger spatial and time context.
Economics + controls

## Slide 48
Big data optimization for distributed resource management in smart grid and wireless network virtualization
Benefit for microgrids and users
Improved system reliability and security
Conclusions

## Slide 49
Publications
Journal:
H. K. Nguyen, A. Khodaei and Z. Han, "Incentive Mechanism Design for Integrated Microgrids in Peak Ramp Minimization Problem," IEEE Transaction on Smart Grids, accepted.
H. K. Nguyen, Y. Zhang, Z. Chang and Z. Han,, "Parallel and Distributed Resource Allocation with Minimum Traffic Disruption for Wireless Network Virtualization," in IEEE Transactions on Communications, vol. 65, no. 3, pp. 1162-1175, Mar. 2017.
H. K. Nguyen, A. Khodaei and Z. Han, "A Big Data Scale Algorithm for Optimal Scheduling of Integrated Microgrids," in IEEE Transaction on Smart Grids, accepted.
H. K. Nguyen, H. Mohsenian-Rad, A. Khodaei, and Z. Han, "Decentralized Reactive Power Compensation using Nash Bargaining Solution," in IEEE Transaction on Smart Grids, accepted.
H. K. Nguyen, J. B. Song, and Z. Han, "Distributed Demand Side Management with Energy Storage in Smart Grid," in IEEE Transaction on Parallel and Distributed Systems, vol.26, no.12, pp.3346-3357, Dec., 2015
X. Niu, J. Sun, H. K. Nguyen, Z. Han, “Privacy-preserving Computation for Large-scale Security-Constrained Optimal Power Flow Problem”, to be submitted to IEEE Transaction on Parallel and Distributed Systems
Y. Yu, H. K. Nguyen, Z. Han, “Distributed Resource Allocation for Network Function Virtualization based on Benders decomposition and ADMM”, to be submitted to IEEE Transaction on Wireless Communication
G. M. Santos, H. K. Nguyen, M. P. Arnob, Z. Han, W. Shih, “Compressed sensing hyperspectral imaging in the 1-2.5um near-infrared wavelength range using digital micro-mirror device and InGaAs linear array detector”, to be submitted
H. K. Nguyen, A. Khodaei and Z. Han, “Distributed energy trading for prosumers in Transactive Energy,” in preparation
Conference:
H. K. Nguyen, A. Khodaei, and Z. Han, "Distributed Algorithms for Peak Ramp Minimization Problem in Smart Grid," 2016 IEEE International Conference on Smart Grid Communications (SmartGridComm), Sydney, 2016, pp. 174-179.
H. Xu, H. K. Nguyen, X. Zhou, Z. Han, “Stackelberg Differential Game based Charging Control of Electric Vehicles in Smart Grid,” submitted to IEEE Globecom 2017

## Slide 50
Thank You!
Question
&
Answer