## Slide 1
Multi-Block ADMM for Big Data Optimization in Smart Grid
Department of Electrical and Computer Engineering
Lanchao Liu and Zhu Han
Department of Electrical and Computer Engineering
Department of Computer Science
University of Houston
Supported by Centerpoint, LLC and Direct Energy, LLC
through electric power analytics consortium
Supported by NSF CMMI-1434789

## Slide 2: Outline
Introduction for big data and smart grid
  Alternating Direction Method of Multipliers (ADMM) Basics
Direct Extension to Multi-block
  Gauss-Seidel Type Extension
  Jacobian Type Extension
Multi-block ADMM
  Variable Splitting ADMM
  ADMM with Gaussian Back Substitution
  Proximal Jacobian ADMM
Summary of All Variations
Case Study: SCOPF for Smart Grid Security
  Security-constrained Optimal Power Flow Problem (SCOPF)
Conclusion

## Slide 3: Big Data
Size of data increases exponentially
Types of data are very heterogeneous
  Technology makes it possible to analyze ALL available data
Need to calculate fast
Key dimensions
  Volume, Velocity and Variety

## Slide 4: However
Nobody knows exactly how to handle big data
We zoom in one algorithm and one application
  Alternating Direction Method of Multipliers (ADMM)
  Security-constrained Optimal Power Flow Problem

## Slide 5: Smart Grid (SG)
In 2009, “American Recovery and Reinvestment Act”
  $3.4 billion for SG investment grant program
  $615 million for SG demonstration program
  It leads to a combined investment of $8 billion in SG capabilities.
  Utility and service companies have a lot of big data, but they do know how to use

## Slide 6: Outline
Introduction for big data and smart grid
  Alternating Direction Method of Multipliers (ADMM) Basics
Direct Extension to Multi-block
  Gauss-Seidel Type Extension
  Jacobian Type Extension
Multi-block ADMM
  Variable Splitting ADMM
  ADMM with Gaussian Back Substitution
  Proximal Jacobian ADMM
Summary for All Variations
Case Study: SCOPF for Smart Grid Security
  Security-constrained Optimal Power Flow Problem (SCOPF)
Conclusion

## Slide 7: ADMM Basics
Divide one problem into multiple subproblems
Augmented Lagrangian function with quadratic penalty
ADMM embeds a Gauss-Seidel decomposition:
  The third step is consensus that needs to be exchanged.
  Each iteration is not feasible, converge O(1/k) speed
California Government
Texas Government
US Congress

## Slide 8: Guass-Seidel v.s. Jacobian
Solve the linear system Ax = b.

## Slide 9: Gauss-Seidel type extension

## Slide 10: Gauss-Seidel Type Extension
Direct extension of Gauss-Seidel multi-block ADMM is not necessarily convergent.
Hong proved the convergence of Algorithm 2 with sufficient small step size for Lagrangian multiplier update and additional assumptions on the problem.
Ye conjugates that an independent uniform random permutation of the update order for blocks in each iteration will result in a convergent iteration scheme.
Some slightly modified versions of Algorithm 2 with provable convergence and competitive iteration simplicity and computing efficiently have been proposed.

## Slide 11: Jacobian Type Extension

## Slide 12: Jacobian Type Extension
More computational efficient in the sense of parallelization.
Algorithm 3 is not necessarily convergent in the general case, even in the 2 blocks case.
Yin proves that if matrices Ai are mutually near-orthogonal and have full column-rank, the Algorithm 3 converges globally.
A proximal Jacobian ADMM with provable convergence is also proposed.

## Slide 13: Variable Splitting ADMM
The optimization problem can be reformulated by introducing auxiliary variable z to deal with the multi-block case.

## Slide 14: Variable Splitting ADMM

## Slide 15: Variable Splitting ADMM

## Slide 16: ADMM with Gaussian Back Substitution

## Slide 17: ADMM with Gaussian Back Substitution

## Slide 18: ADMM with Gaussian Back Substitution

## Slide 19: Proximal Jacobian ADMM

## Slide 20: Proximal Operator
Penalty for Large Step
Can Suffer infeasibility
Feasibility
Boundary

## Slide 21: Proximal Jacobian ADMM

## Slide 22: Summary For Different Types

## Slide 23: Outline
Introduction for big data and smart grid
  Alternating Direction Method of Multipliers (ADMM) Basics
Direct Extension to Multi-block
  Gauss-Seidel Type Extension
  Jacobian Type Extension
Multi-block ADMM
  Variable Splitting ADMM
  ADMM with Gaussian Back Substitution
  Proximal Jacobian ADMM
Summary of All Variations
Case Study: SCOPF for Smart Grid Security
  Security-constrained Optimal Power Flow Problem (SCOPF)
Conclusion

## Slide 24: Contingency Analysis in Power Grid
Contingency analysis
  Assess the ability of the power grid to sustain component failures.
  Currently focused on mostly select “N-1” scenarios.
Security-constrained Optimal Power Flow Problem (SCOPF)
  Determines the optimal control of power systems under constraints arising from a set of postulated contingencies
Supervisory Control and
Data Acquisition
(SCADA) Center

## Slide 25: Security-constrained Optimal Power Flow
Example
Base Case
Contingency Case
Unacceptable because overload of line 1-3 could lead to a cascade trip and a system collapse
Limit 300MW

## Slide 26: Security-constrained Optimal Power Flow
Subject to:
Power flow equations for
base case, Kirchoff's law
Operating limits for the base case
Power flow equations for contingency k
Operating limits for contingency k
Subscript 0 indicates value of variables in the base case
Subscript k indicates value of variables for contingency k
Security constrained
Scheduling Objective

## Slide 27: SCOPF Using ADMM
Base Case
Contingency 1
Contingency 2
Contingency K
Implemented on High Performance Center in UH using Message Passing Interface

## Slide 28: Results
Converge to the optimal solution
Speed up the computation of the optimization problem
Even faster for a sufficiently accurate solution
Lanchao Liu, Amin Khodaei, Wotao Yin, and Zhu Han, “A Distribute Parallel Approach for Big Data Scale Optimal Power Flow with Security Constraints," IEEE SmartGridComm, Vancouver, CA, October 2013

## Slide 29: Conclusion
Big data is a very hot topic today
  but hard to define problems
Smart grid is another hot topic, with a lot of big data
  But the utility and service companies do not know how to use
Zoom in
  Alternating direction method of multipliers (ADMM)
  Security-constrained Optimal Power Flow Problem (SCOPF)
Multiblock ADMM
  Investigate 6 Algorithms
  Multi-block ADMM is not necessarily convergent.
  Sophisticated modifications are needed to ensure convergence.
  Large-scale computing facilities are ready for the “big data“ optimization.
  Applications are prevalent.
Only touch trivial parts of the whole picture

## Slide 30: Ad and Thanks
Many slides are available on http://wireless.egr.uh.edu/research.htm
Dan Wang and Zhu Han, “Sublinear Algorithms for Big Data Applications,” in print, Springer Science + Business Media, LLC.
Zhu Han, Mingyi Hong, and Dan Wang, Signal Processing and Networking for Big Data Applications, contract with Cambridge University Press, UK.