## Slide 1
Case Study of Big Data Analysis for Smart Grid
Department of Electrical and Computer Engineering
Zhu Han
Department of Electrical and Computer Engineering
University of Houston
Supported by Centerpoint, LLC and Direct Energy, LLC
through electric power analytics consortium
Supported by NSF CMMI-1434789
Students: Dr. Nam Nguyen, Erte Pan and Lanchao Liu

## Slide 2: Overview
Introduction
  Big Data
  Smart Grid
Case 1: Load profiling and smart pricing by smart meter big data
  Basics and problems
  Bayesian nonparametric learning
  Sublinear Algorithm
Case 2: SCOPF for smart grid security
  Sparse optimization
  Alternating direction method of multipliers (ADMM).
  Security-constrained Optimal Power Flow Problem
Conclusion
Other research activities of our group

## Slide 3: Big Data
Size of data increases exponentially
Types of data are very heterogeneous
  Technology makes it possible to analyze ALL available data
Key dimensions
  Volume, Velocity and Variety

## Slide 4: Big Data Business

## Slide 5: However
Nobody knows exactly how to handle big data
We zoom in smart grid bid data
  Further zoom in smart meters and sensors

## Slide 6: Smart Grid
In 2009, “American Recovery and Reinvestment Act”
  $3.4 billion for SG investment grant program
  $615 million for SG demonstration program
  It leads to a combined investment of $8 billion in SG capabilities.

## Slide 7: Overview
Introduction
  Big Data
  Smart Grid
Case 1: Load profiling and smart pricing by smart meter big data
  Basics and problems
  Bayesian nonparametric learning
  Sublinear Algorithm
Case 2: SCOPF for smart grid security
  Sparse optimization
  Alternating direction method of multipliers (ADMM).
  Security-constrained Optimal Power Flow Problem
Conclusion
Other research activities of our group

## Slide 8: Smart Pricing for Maximizing Profit
The profit = sum of utility bill – cost to buy power
  Different shape of loads cost different
  Incentive using pricing to change the loads
  The cost reduction is greater than loss of bills

## Slide 9: Load Profiling
From smart meter data, try to tell users’ usage behaviors
  CEO, 1%, UH Computer Science people
  Worker, middle class, professor
  Homeless, slave, Ph.D. students

## Slide 10: Question: How to cluster smart meter big data
For multi-dimension data
  Model selection: How many clusters are there?
  What’s the hidden process created the observations?
  What are the latent parameters of the process?
Classic parametric methods (e.g. K-Means)
  Need to estimation the number of clusters
  Can have huge performance loss with poor model
  Cannot scale well
The questions can be solved by using Nonparametric Bayesian Learning!
Nonparametric: Number of clusters (or classes) can grow as more data are observed and need not to be known as a priori.
Bayesian Inference: Use Bayesian rule to infer about the latent variables.
Bayesian Nonparametric Classification
Department of Electrical and Computer Engineering
[10]

## Slide 11: Key Idea
Bayesian rule
    Posterior Likelihood Prior
  μ contains information such as how many clusters, and which sample belongs to which cluster
  μ should be nonparametric and can be any value
Sample the posterior distribution P(μ|Observations), and get values of the parameter μ.
Main Objective
Department of Electrical and Computer Engineering
p(μ|Observation)=p(Observation|μ)p(μ)/p(Observation)
[11]

## Slide 12: Generative model vs. Inference algorithm
Generative model
  Start with the parameters and end up creating observations
  Concept and framework
Inference algorithm
  Start with observations and end up inferring about the parameters
  Practical applications
Bayesian Nonparametric Classification
[12]

## Slide 13: Generative model: A general idea
If sample the distribution of each
face, we will obtain the weights, or
the probabilities for each face
(Dirichlet process)
1
2
3
4
5
6
π1
π2
π3
π4
π5
π6
∞
7
Question: If we have a dice with infinite number of faces, then how to deal with the situation?
A Dice with Infinite Number of Faces
[13]

## Slide 14: Generative model: Stick breaking process:
Department of Electrical and Computer Engineering
1-π1’
π1’
1
(1-π2’ )(1-π1’)
π2’ (1-π1’)
Sample a breaking point:
Calculate the weight:
Generate an infinite number of faces, and their weights which sum up to 1.
Model for Infinite Number of Faces
[14]

## Slide 15: Generative model
Stick(α)
Infinite number of faces/classes
1
2
3
4
5
6
∞
7
π1
π2
π∞
The observations follows a distribution such as Gaussian.
µ∞
Σ∞
µ1
Σ1
µ2
Σ2
Indicators are created according to multinomial distribution.
z1, z2 .. = 1
z20, z21 .. = 2
X1:N
Infinite Gaussian Mixture Model
[15]

## Slide 16: Inference model: Nonparametric Bayesian Classification algorithm – Gibbs sampler approach
Finding the posterior of the multivariate distribution P(Z|X)
  Given observation X, what are the probability that it belongs to cluster Z
  Which cluster a sample belongs to?
  Painful due to the integrations needed to carry out.
Finding a univariate distribution is more easily to implement
  For new observation, can get marginal distribution of indicator
  In other word, find the marginal distribution of Zi given the other indicators.
  Gibbs sampling method to sample a value for a variable given all other variables.
  The process is repeated and proved to be converged after a few iterations.
Inference Model
[16]

## Slide 17: Nonparametric Bayesian Classification inference
Department of Electrical and Computer Engineering
Goal:
Probability assigned to a represented class
Probability assigned to an unrepresented class
Prior
(Chinese Restaurant Process)
Likelihood
(e.g. given as Gaussian)
Posterior
?
?
is the set of all other labels except the current one, ith
is the number of observations in the same class, k, excluding the current one, ith
Chinese Restaurant Process
[17]

## Slide 18: Inference model: Posterior distributions
Department of Electrical and Computer Engineering
Given the prior and the likelihood, we come up with the posterior:
  Probability of assigning to a unrepresented cluster:
  Probability of assigning to a represented cluster:
(1)
(2)
t is the student-t distribution
Student t Distribution
Intuitive:
Provide a stochastic
gradient!
[18]

## Slide 19: Inference model: Gibbs sampler
Department of Electrical and Computer Engineering
Start with random indicator for each observation.
Update the indicator zi according to (1) and (2) given all the other indicators
Converge?
Yes
No
STOP
Remove the current ith observation from its cluster
Gibbs Sampler
[19]

## Slide 20: Two Gaussian distributed clusters with KL divergence (KLD) 4.5
Department of Electrical and Computer Engineering
Amazing Clustering Results
Intuition why it works so well
  Not the boundary or threshold. But clustering so that each cluster looks more like the distribution (Gaussian).
  No prior information on probabilities of the green or red
[20]

## Slide 21: Indian Buffet Process (IBP)
Chinese restaurant problem: one point only belongs to one cluster
Indian buffet process: Multiple assignment clustering, in which, one observation can be caused by multiple hidden sources:
Binary matrix rep. of IBP:

## Slide 22: Load Profiling Results
Utility company wants to know benchmark distributions
  Nonparametric: do not know how many benchmarks
  Bayesian: posterior distribution might be time varying
  Scale: Daily, weekday, weekend, monthly, yearly.
But need online algorithm
  Sublinear algorithm

## Slide 23: Sublinear Algorithm Basics
Examples:
  Genome project, world-wide web
  Smart meter data, 2.2M in Houston
In many cases, hardly fit in storage
Are traditional notions of an efficient algorithm sufficient?
  i.e., is linear time good enough?
Sublinear algorithm
  Don’t look at entire data…
  Sample according to a certain distribution
  Clever use of approximate solutions to subproblems yields sufficient accurate result

## Slide 24: Application in Smart Grid
Goal
  Profile distribution p
  User’s distribution q
  Test closeness between p and q
Given є and δ, subsampling at least (-logδ/(2є^2)) number of users will guarantee:
  α percentage of specific type of users
Sublinear method:
  Repeatedly subsampling from entire distributions
  Run time is sublinear

## Slide 25: Smart Pricing Performance
Close to true data with 1% subsampling
Smart pricing
  Fix price for all hours
  Differentiate charge: peak hour and off peak hour
  Differentiated service: user selection for either fix or differentiate price.

## Slide 26: Overview
Introduction
  Big Data
  Smart Grid
Case 1: Load profiling and smart pricing by smart meter big data
  Basics and problems
  Bayesian nonparametric learning
  Sublinear Algorithm
Case 2: SCOPF for smart grid security
  Sparse optimization
  Alternating direction method of multipliers (ADMM).
  Security-constrained Optimal Power Flow Problem
Conclusion
Other research activities of our group

## Slide 27: Sparse Optimization
Data dimension >> useful information dimension
  Number of buses >> number of attacked places
Compressive sensing open a new SP paradigm
Many algorithms developed for sparse optimization
  Alternating direction method of multipliers (ADMM)

## Slide 28: ADMM Basics
ADMM problem form (f and g are convex closed proper)
  Divide one problem into multiple subproblems
  Augmented Lagrangian function
ADMM:
Each iteration is not feasible, but converge O(1/k) speed

## Slide 29: Contingency Analysis in Power Grid
Contingency analysis
  Assess the ability of the power grid to sustain component failures.
  Currently focused on mostly select “N-1” scenarios.
Security-constrained Optimal Power Flow Problem (SCOPF)
  Determines the optimal control of power systems under constraints arising from a set of postulated contingencies

## Slide 30: Security-constrained Optimal Power Flow
Example
Base Case
Contingency Case
Unacceptable because overload of line 1-3 could lead to a cascade trip and a system collapse

## Slide 31: Security-constrained Optimal Power Flow
Subject to:
Power flow equations for
base case, Kirchoff's law
Operating limits for the base case
Power flow equations for contingency k
Operating limits for contingency k
Subscript 0 indicates value of variables in the base case
Subscript k indicates value of variables for contingency k
Security constrained
Scheduling Objective

## Slide 32: SCOPF Using ADMM
Base Case
Contingency 1
Contingency 2
Contingency K
Implemented on HPC in UH using MPI

## Slide 33: Results
Converge to the optimal solution
Speed up the computation of the optimization problem
Even faster for a sufficiently accurate solution

## Slide 34: Conclusion
Big data is a very hot topic today
  but ill defined problem
Smart grid is another hot topic, with a lot of big data
  But the utility companies do not know how to use
Zoom in two topics
  Loading profiling and smart pricing
  SCOPF
Study three techniques
  Machine learning: Bayesian nonparametric learning
  Sublinear algorithm
  ADMM
Only touch trivial parts of the whole picture

## Slide 35: Reason and Benefit
Motivation for applying joint CS position
  Need coding ability from CS department
  Need to find more collaboration
Benefit
  Ph.D. student supervision
  Courses such as game theory, smart grid, big data…
  Joint proposals
  ACM citations

## Slide 36: Funding Summary
Total Funding Since Joining UH in 2008
  $2,562,670 with 100% credit , more than 1.7 million after tenure
  Total collaboration $8,221,483
9 NSF PI Award (6 concurrent now) include Career Award 2010
  Others: Air Force Office of Scientific Research, Qatar National Research Fund, Gulf of Mexico Research Initiative, Department of Interior
Founder of Electric Power Analytics Consortium, 2012.
  Featured on Houston Business Journal, KUHF, and Chronicle
  Current members: Centerpoint and Direct Energy. Osaka gas will join
  Big data analysis for smart grid

## Slide 37: Award Summary
IEEE Fellow 2014 (<0.1%), highest recognition in the field
  Contributions on resource allocation and security in wireless networks
2011 IEEE Communications Society Fred W. Ellersick Prize
7 IEEE conference best paper awards with students
  IEEE Wireless Communication and Networking Conference, 2013.
  IEEE International Conference on Smart Grid Communications, 2012.
  International Conference on Wireless Communications and Signal Processing (WCSP), 2012.
  Two in IEEE Wireless Communication and Networking Conference, 2012.
  IEEE International Conference on Communications, 2009.
  7th International Symposium on Modeling and Optimization in Mobile, Ad Hoc, and Wireless Networks, (WiOpt09), 2009.
Award for Excellence in Research, Scholarship or Creative Activity

## Slide 38: Publication Summary
127 published/accepted journals, 247 conference papers
  >95% are IEEE/ACM journals and conferences
  Collaborate with 4 NAE and 1 National Academy of Sciences members
3 brief books, 13 book chapters, and 2 patents.
5 published textbooks/1 edited book, all by Cambridge University Press
Citation: Google >9000, H-index 46, Web of Science >2000, h-index 23

## Slide 39: Overview of Wireless Amigo Lab
Lab Overview
  Currently: 12 Ph.D. students,
  Alumni: 7 Ph.D. and 3 joint postdocs.
  Currently supported by 9 NSF funding, DOD, Gulf of Mexico Research Initiative, Power consortium and Qatar grants
Current Concentration
  Game Theoretical Approach
    Spectrum sensing; UAV; Vehicular network; Physical layer security; MIMO/Relay network; Social network; Context aware network; Femtocell; Device to device network
  Compressive Sensing and Big Data
  Machine Learning
      Bayesian nonparamentric learning: IGMM, Gibbs sampling
      Deep learning
      Multiarm Bandit: Exploration and exploitation

## Slide 40: Research Lab Summary
  Security
    Device identification by Baysian nonparametric method
    Trust management and belief network/propagation
    Quickest detection
    Physical layer security
    Primary user emulation attack
  Smart Grid
    False data injection attack
    PHEV optimization
    Distributed microgrid control
    Renewable energy
    Smart meter
    Demand side management
Summary from my student’s facebook
  Theory is something we know why, but it does not work.
  Practice is something works, but we do not know why.
  In our research lab, we have both: nothing works and we do not know why.

## Slide 41: Thanks